RF-MSG-ST radio motor control unit, Output 230 V AC

Radio motor control unit for 1 drive for controllers WS1000 Color, KNX WS1000 Color, WS1 Color, WS1000 Style, KNX WS1000 Style, WS1 Style, Solexa II and control units Remo 8, RF-B2-UP, Corlo P RF. Output 230 V, Up/Down, load up to max. 4 A / 230 V. Radio frequency 868.2 MHz (Elsner RF).
Connector housing STAK3/STAS3, dimensions approx. 147 x 36 x 29 (W x H x D, mm).

Manufactured by: Elsner Elektronik (www.elsner-elektronik.de)
Type: 60535 RF-MSG-ST