KNX Matter Server

Interface between KNX and Matter for controlling the KNX system via a Matter-capable Smart Home Assistant. Advantages of both systems can be used, e.g. voice control, integration of wireless systems, geofencing, personalised automation, visualisation. No internet connection required (depending on the Matter-enabled smart assistant used) Integration of IoT devices via Matter. Simple automation thanks to easily linkable function blocks. Remote support. Remote programming via ETS.
Matter-certified. Direct connection to KNX via TP or KNXnet/IP. Automatic device assignment via ETS project import. Remote access via web dashboard incl. ETS programming option. Multi-coloured LEDs display status information.
Modular device for mounting on top-hat rail according to DIN EN 60715. Dimensions 72 x 90 x 60 (W x H x D in mm), 4 division units.

Manufactured by: Elsner Elektronik (www.elsner-elektronik.de)
Type: 71256 KNX Matter Server